## Sheet1
WOLF & N1 Training Report
|  |  | WOLF # |  | N1 #
NanoCellect Biomedical, Inc. | Institution Name:
San Diego, CA | Contact Name:
Tel: (877) 745-7678 | Phone Number:
Part # | FAS Name:
WOLF G2 Training Topic |  | Completed |  | Notes
Turning On and Connecting the WOLF
Cartridge Insertion and Tubing Setup
Cartridge Priming and Alignment
Calibration
Sample Preparation
Sample Analysis (FSC v BSC, Fluorescence, Overlay Plots)
Detection Setting Panel (Thresholds and PMT Gains)
Software Data Analysis Tools (Gating)
Compensation (Automatic, Manual, and Edit Matrix)
Sorting Controls
Collection Criteria Panel
Bulk Sorting
Statistics Panel and Gate State
PDF Reports
WOLF Shutdown and Cartridge Removal
Instrument Maintenance & Troubleshooting
WOLF Transportation Principles
Instrument Manual & Support
N1 Training Topic |  | Completed |  | Notes
N1 Alignment Wizard
N1 Plate Setup
Plate Time Calculator
Single Cell Cartridge Insertion and Tubing Setup
Sample Preparation for Single Cell Sorting
Single Cell Sorting
CSV File
Plate Analyzer
WOLF Shutdown and Single Cell Cartridge Removal
Fast plating and beta features
Training Report Sign-Off
Customer Name (Print) |  |  | FAS Name (Print)
Customer Signature | Date |  | FAS Signature |  |  | Date

## Sheet2
Item | Product #
Collection Tube Holder | 10200
Configured PC | 12800
Expedited Shipping & Handling for Consumables | S902
Installation, On Site Installation | S700
N1 Single Cell 96 & 384-well Dispenser | 4510
N1 Single Cell 96-well Dispenser | 4010
Pack, Starter, Single Cell (10 SC, 1 CAL, 1 RBW) | 10505
Pack, Starter, Single Cell (10 SC, 1 CAL, 1 RBW) (SS Needle Housing) | 10505SS
Pack, Starter, Sorting (10 S, 1 CAL, 1RBW) | 10500
Shipping & Handling | S900
Shipping & Handling for Consumables | S901
Software, WOLFViewer Software | 12000
Training, Full Day Training | S800
Warranty, Extended, WOLF Cell Sorter + N1 Single Cell Dispenser, 1 yr | S100N
Warranty, Extended, WOLF Cell Sorter, 1 yr | S100
Waste Container | 10300
WOLF Cell Sorter | 517301-03